{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["表1 有组织废气（手工监测）污染物监测原始结果表","表2 无组织废气污染物监测原始结果表","表3  废水监测仪器信息表","表4 废水污染物监测结果表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表1 有组织废气（手工监测）污染物监测原始结果表","index":0,"n_rows":40,"n_cols":166,"rows_kept":40,"merged":[[0,0,0,255],[1,0,1,15],[1,16,1,28],[1,29,1,41],[1,42,1,54],[1,55,1,67],[1,68,1,80],[1,81,1,93],[1,94,1,106],[1,107,1,119],[1,120,1,132],[1,133,1,145],[1,146,1,158],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,15],[2,16,4,16],[2,17,4,17],[2,18,2,28],[2,29,4,29],[2,30,4,30],[2,31,2,41],[2,42,4,42],[2,43,4,43],[2,44,2,54],[2,55,4,55],[2,56,4,56],[2,57,2,67],[2,68,4,68],[2,69,4,69],[2,70,2,80],[2,81,4,81],[2,82,4,82],[2,83,2,93],[2,94,4,94],[2,95,4,95],[2,96,2,106],[2,107,4,107],[2,108,4,108],[2,109,2,119],[2,120,4,120],[2,121,4,121],[2,122,2,132],[2,133,4,133],[2,134,4,134],[2,135,2,145],[2,146,4,146],[2,147,4,147],[2,148,2,158],[3,5,4,5],[3,6,4,6],[3,18,4,18],[3,19,4,19],[3,31,4,31],[3,32,4,32],[3,44,4,44],[3,45,4,45],[3,57,4,57],[3,58,4,58],[3,70,4,70],[3,71,4,71],[3,83,4,83],[3,84,4,84],[3,96,4,96],[3,97,4,97],[3,109,4,109],[3,110,4,110],[3,122,4,122],[3,123,4,123],[3,135,4,135],[3,136,4,136],[3,148,4,148],[3,149,4,149],[3,160,3,162],[3,163,3,165],[7,0,11,0],[7,1,11,1],[7,2,11,2],[38,9,38,10],[38,22,38,23],[38,35,38,36],[38,48,38,49],[38,61,38,62],[38,74,38,75],[38,87,38,88],[38,100,38,101],[38,113,38,114],[38,126,38,127],[38,139,38,140],[38,152,38,153],[39,0,39,15]],"flags":["formulas_cached_only"]}
["表1 有组织废气（手工监测）污染物监测原始结果表"]
["1月",{"$nulls":15},"2月",{"$nulls":12},"3月",{"$nulls":12},"4月",{"$nulls":12},"5月",{"$nulls":12},"6月",{"$nulls":12},"7月",{"$nulls":12},"8月",{"$nulls":12},"9月",{"$nulls":12},"10月",{"$nulls":12},"11月",{"$nulls":12},"12月"]
["序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口",{"$nulls":10},"监测日期","监测时间","出口"]
[{"$nulls":5},"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,null,"标干烟气量（Nm3/h）","氧含量(%)","颗粒物(mg/m3)","二氧化硫(mg/m3)","氮氧化物(mg/m3)","苯并【a】芘（ug/m3）","氰化氢(mg/m3)","酚类(mg/m3)","非甲烷总烃(mg/m3)","氨(mg/m3)","硫化氢(mg/m3)",null,"颗粒物",null,null,"二氧化硫"]
[{"$nulls":7},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",{"$nulls":4},"监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果","监测结果",null,"最小值","最大值","平均值","最小值","最大值","平均值"]
[1,"DA005","1、2#焦炉装煤除尘烟囱出口","2023-01-30","9:30-12:00",39605,"/","/","/","/",0,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",null,"/","/","/","/","/","/"]
[2,"DA039","1、2#焦炉机侧除尘烟囱出口","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","2023-03-26","9:30-12:00",151100,"/",5.3,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",null,"/","/","/","/","/","/"]
[3,"DA002","3、4#焦炉装煤除尘烟囱出口","2023-01-06","9:30-12:00",2146152,"/",{"v":7,"d":"7.0"},0,"/","/","/","/","/","/","/","2023-02-03","9:30-12:30",2078927,"/",8.7,0,"/","/","/","/","/","/","/","2023-03-07","9:30-12:00",2451075,"/",8.2,3,"/","/","/","/","/","/","/","2023-04-06","9:30-12:00",2990991,"/",11.6,0,"/","/","/","/","/","/","/","2023-05-05","9:30-12:00",1964497,"/",7.7,0,"/",0,"/","/","/","/","/","2023-06-01","9:30-12:00",2011988,"/",7.4,3,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":6},"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/"]
[{"$nulls":3},"2023-01-09","9:30-12:00",2058156,"/",6.8,0,"/","/","/","/","/","/","/","2023-02-06","9:30-12:30",1969858,"/",{"v":12,"d":"12.0"},0,"/","/","/","/","/","/","/","2023-03-13","9:30-12:00",1835519,"/",7.2,0,"/","/","/","/","/","/","/","2023-04-10","9:30-12:00",1976744,"/",8,0,"/","/","/","/","/","/","/","2023-05-08","9:30-12:00",1826623,"/",7.7,3,"/","/","/","/","/","/","/","2023-06-08","9:30-12:00",1622751,"/",11.4,3,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":6},"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/"]
[{"$nulls":3},"2023-01-16","9:30-12:00",1942827,"/",9.3,0,"/","/","/","/","/","/","/","2023-02-17","9:30-12:30",2405852,"/",8.2,3,"/","/","/","/","/","/","/","2023-03-23","9:30-12:00",2864614,"/",7.3,0,"/","/","/","/","/","/","/","2023-04-19","9:30-12:00",1949081,"/",11.2,3,"/","/","/","/","/","/","/","2023-05-16","9:30-12:00",2008641,"/",10.1,0,"/","/","/","/","/","/","/","2023-06-13","9:30-12:00",1382106,"/",8.6,0,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":6},"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/"]
[{"$nulls":3},"2023-01-29","9:30-12:00",2019701,"/",10.7,0,"/","/","/","/","/","/","/","2023-02-20","9:30-12:30",2482299,"/",13.6,0,"/","/","/","/","/","/","/","2023-03-27","9:30-12:00",2547203,"/",21.3,0,"/","/","/","/","/","/","/","2023-04-25","9:30-12:00",1993142,"/",7.9,0,"/","/","/","/","/","/","/","2023-05-23","9:30-12:00",2006634,"/",8.4,7,"/","/","/","/","/","/","/","2023-06-20","9:30-12:00",2339511,"/",9.4,0,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":6},"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/"]
[{"$nulls":3},"/","/",null,"/","/","/","/","/","/","/","/","/","/","2023-02-27","9:30-12:30",1597168,"/",7.2,3,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","2023-06-27","9:30-12:00",2660983,"/",8.3,0,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/",null,null,"/","/","/","/","/","/","/",null,null,"/","/","/","/","/","/","/","/","/","/","/",null,6.8,21.3,{"v":9.395454545454545,"d":"9.4"},0,7,{"v":1.1363636363636365,"d":"1"}]
[4,"DA031","C410除尘烟囱出口","2023-01-29","9:30-12:00",114139,"/",4.8,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[5,"DA034","C系筛焦楼除尘烟囱出口","2023-01-29","9:30-12:00",178351,"/",7.5,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[6,"DA035","新C系筛焦楼除尘烟囱出口","2023-01-29","9:30-12:00",169856,"/",6.1,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[7,"DA007","预粉除尘烟囱出口","2023-01-31","9:30-12:00",13164,"/",8.5,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[8,"DA012","C301转运站除尘烟囱出口","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[9,"DA013","C315转运站除尘烟囱出口","2023-01-29","9:30-12:00",9259,"/",6.8,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[10,"DA029","一系粉碎机除尘烟囱出口","2023-01-09","9:30-12:00",23199,"/",4.6,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[11,"DA030","二系粉碎机除尘烟囱出口","2023-01-31","9:30-12:00",100398,"/",3.7,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[12,"DA038","B317皮带转运站除尘烟囱出口","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[13,"DA014","煤调湿除尘烟囱出口","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[14,"DA008","蒸氨1#管式炉","2023-01-16","9:30-12:00",12634,"/",4.5,10,6,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[15,"DA009","蒸氨2#管式炉","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[16,"DA020","一系冷鼓尾气洗涤塔","2023-01-11","9:30-12:00",9478,"/","/","/","/",0,0,{"v":1,"d":"1.0"},0.32,3.93,{"v":0.9,"d":"0.90"},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[17,"DA036","二系冷鼓尾气洗涤塔","2023-01-11","9:30-12:00",8062,"/","/","/","/",0,0,1.3,0.36,3.88,1.07,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[18,"DA037","新冷凝冷鼓尾气洗涤塔","2023-01-13","9:30-12:00",2005247,"/","/","/","/",0,0,0,0.35,0,0,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[19,"DA024","一系脱硫制酸尾气排气筒","2023-01-29","9:30-12:00",22933,"/","/","/","/","/","/","/","/",{"v":6.3,"d":"6.30"},0.72,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[20,"DA026","硫铵结晶干燥洗净塔","2023-01-16","9:30-12:00",5496,"/",7.9,"/","/","/","/","/","/",7.84,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",null,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[21,"DA028","焦油储罐(焦油原料槽区尾气洗净塔)","2023-01-13","9:30-12:00",13353,"/","/","/","/",0,0,1.8,0.55,3.89,0.93,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[22,"DA060","1#2#焦炉熄焦塔","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[23,"DA051","A/B焦炉机侧除尘","2023-01-30","9:30-12:00",50704,"/",3.2,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[24,"DA054","A/B焦炉新贮筛转运站除尘","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","2023-03-30","9:30-12:00",120488,"/",3.4,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[25,"DA055","A/B焦炉D401转运站除尘","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","2023-03-30","9:30-12:00",19900,"/",2.7,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[26,"DA056","A/B焦炉D402转运站除尘","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","2023-03-30","9:30-12:00",10900,"/",{"v":4,"d":"4.0"},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[27,"DA057","A/B焦炉D403转运站除尘","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","2023-03-30","9:30-12:00",20963,"/",4.1,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[28,"DA058","A/B焦炉D404转运站除尘","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","2023-03-30","9:30-12:00",8539,"/",3.7,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[29,"DA059","酚氰废水处理站尾气收集装置","2023-01-31","9:30-12:00",29170,"/","/","/","/","/","/","/",1.72,6.03,0.22,"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[{"$nulls":8},"记录时间：","2023-01-31",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-02-28",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-03-31",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-04-30",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-05-31",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-06-30",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-07-31",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-08-31",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-09-30",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-10-31",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-11-30",null,"记录人：","袁赫阳",null,"审核人：","孙宝存",{"$nulls":5},"记录时间：","2023-12-31",null,"记录人：","袁赫阳",null,"审核人：","孙宝存"]
["注：进口监测数据按照监测方法、设备条件、企业需求选择性填报。指标“0”代表未检出。"]

{"sheet":"表2 无组织废气污染物监测原始结果表","index":1,"n_rows":32,"n_cols":15,"rows_kept":32,"merged":[[0,1,0,14],[1,0,1,1],[2,0,8,0],[9,0,15,0],[16,0,22,0],[23,0,29,0],[30,0,30,14]],"flags":["formulas_cached_only"]}
[null,"表2 无组织废气（手工/在线监测）污染物监测原始结果表"]
["序号",null,"生产设施编号/\n无组织排放编号","监测日期","监测时间","二氧化硫(mg/m3)","颗粒物(mg/m3)","氮氧化物(mg/m3)","硫化氢(mg/m3)","氨(mg/m3)","苯并【a】芘ug/m³","苯可溶物(mg/m3)","苯(mg/m3)","酚类(mg/m3)","氰化氢(mg/m3)"]
["一季度",1,"1、2号焦炉炉顶","2023-03-20","9:00-11:00","/",0.388,"/",0.009,0.202,0.0045,0.44,"/","/","/"]
[null,2,"3、4号焦炉炉顶","2023-03-21","9:00-11:00","/",0.158,"/",0.007,0.232,0.0038,0.29,"/","/","/"]
[null,3,"A、B号焦炉炉顶","2023-03-03","9:00-11:00","/",0.69,"/",0.003,1.35,0.01535,0.1,"/","/","/"]
[null,4,"盘江煤焦化东面厂界1米","2023-02-28","9:00-11:00","ND",0.516,0.082,0.002,{"v":0.12,"d":"0.120"},0.0052,"/",0.0317,0.016,0.002]
[null,5,"盘江煤焦化南面厂界1米","2023-02-28","9:00-11:00","ND",{"v":0.35,"d":"0.350"},0.073,0.001,0.133,0.0024,"/",0.0161,0.016,0.002]
[null,6,"盘江煤焦化西面厂界1米","2023-02-28","9:00-11:00","ND",0.329,0.078,0.001,0.11,0.0024,"/","ND",0.016,0.002]
[null,7,"盘江煤焦化北面厂界1米","2023-02-28","9:00-11:00",0.021,0.245,{"v":0.07,"d":"0.070"},0.001,0.117,0.0045,"/",0.0396,0.017,"ND"]
["二季度",1,"1、2号焦炉炉顶","2023-06-28","9:00-11:00","/",0.374,"/",0.006,0.171,"ND",0.35,"/","/","/"]
[null,2,"3、4号焦炉炉顶","2023-06-28","9:00-11:00","/",0.173,"/",0.005,0.173,0.0007,0.3,"/","/","/"]
[null,3,"A、B号焦炉炉顶","2023/4/12\n2023/6/29","9:00-11:00","/",0.318,"/",0.006,0.139,0.0198,0.37,"/","/","/"]
[null,4,"盘江煤焦化东面厂界1米","2023-06-29","9:00-11:00",0.015,0.337,0.087,0.003,0.114,"ND","/","ND",0.016,"ND"]
[null,5,"盘江煤焦化南面厂界1米","2023-06-29","9:00-11:00",0.015,"ND",0.102,0.003,0.094,"ND","/","ND",0.016,"ND"]
[null,6,"盘江煤焦化西面厂界1米","2023-06-29","9:00-11:00",0.022,"ND",0.083,0.003,0.111,"ND","/","ND",0.02,0.002]
[null,7,"盘江煤焦化北面厂界1米","2023-06-29","9:00-11:00",0.021,0.194,0.124,0.003,0.108,"ND","/","ND",0.017,0.004]
["三季度",1,"1、2号焦炉炉顶","2021-08-10","9:00-11:00","/",null,"/",{"$nulls":4},"/","/","/"]
[null,2,"3、4号焦炉炉顶","2021-08-11","9:00-11:00","/",null,"/",{"$nulls":4},"/","/","/"]
[null,3,"A、B号焦炉炉顶","2021-08-12","9:00-11:00","/",null,"/",{"$nulls":4},"/","/","/"]
[null,4,"盘江煤焦化东面厂界1米","2021-07-19","9:00-11:00",{"$nulls":6},"/"]
[null,5,"盘江煤焦化南面厂界1米","2021-07-19","9:00-11:00",{"$nulls":6},"/"]
[null,6,"盘江煤焦化西面厂界1米","2021-07-19","9:00-11:00",{"$nulls":6},"/"]
[null,7,"盘江煤焦化北面厂界1米","2021-07-19","9:00-11:00",{"$nulls":6},"/"]
["四季度",1,"1、2号焦炉炉顶","2021-11-08","9:00-11:00","/",null,"/",{"$nulls":4},"/","/","/"]
[null,2,"3、4号焦炉炉顶","2021-11-09","9:00-11:00","/",null,"/",{"$nulls":4},"/","/","/"]
[null,3,"A、B号焦炉炉顶","2021-11-10","9:00-11:00","/",null,"/",{"$nulls":4},"/","/","/"]
[null,4,"盘江煤焦化东面厂界1米","2021-12-03","9:00-11:00",{"$nulls":6},"/"]
[null,5,"盘江煤焦化南面厂界1米","2021-12-03","9:00-11:00",{"$nulls":6},"/"]
[null,6,"盘江煤焦化西面厂界1米","2021-12-03","9:00-11:00",{"$nulls":6},"/"]
[null,7,"盘江煤焦化北面厂界1米","2021-12-03","9:00-11:00",{"$nulls":6},"/"]
["注：“L”、“ND”均表示为“未检出”"]
[{"$nulls":3},"记录时间：","2023年","记录人：","袁赫阳","审核人：","孙宝存"]

{"sheet":"表3  废水监测仪器信息表","index":2,"n_rows":18,"n_cols":7,"rows_kept":18,"merged":[[0,0,0,6],[3,0,8,0],[3,6,8,6],[9,0,14,0],[9,6,14,6]],"flags":["formulas_cached_only"]}
["表3  废水监测仪器信息表"]
["排放口编码","污染物种类","监测采样方法及个数","监测次数","测定方法","监测仪器型号","备注"]
["DW001","挥发酚","4-氨基安替比林分光光度法","一周1次","水质挥发酚的测定 HJ 503-2009","UV-2550 分光光度计（A10844133121）","湿熄焦废水"]
["DW002","PH","玻璃电极法","一周1次","水质 PH的测定 GB6920-86","HANNAHI2221酸度计（B0026718）","酚氰分水处理站"]
[null,"化学需氧量","重铬酸盐法","一周1次","水质 化学需氧量的测定 HJ828-2017","25ml 滴定管"]
[null,"悬浮物","重量法","一周1次","水质悬浮物的测定 GB11901-89","ME204 电子天平（B4236699752）"]
[null,"氨氮","纳氏试剂分光光度法","一周1次","水质氨氮的测定 HJ 535-2009","UV-2550 分光光度计（A10844133121）"]
[null,"挥发酚","4-氨基安替比林分光光度法","一周1次","水质挥发酚的测定 HJ 503-2009","UV-2550 分光光度计（A10844133121）"]
[null,"氰化物","异烟酸-吡唑啉酮分光光度法","一周1次","水质氰化物的测定 HJ 484-2009","UV-2550 分光光度计（A10844133121）"]
["DW003","PH","玻璃电极法","一周1次","水质 PH的测定 GB6920-86","HANNAHI2221酸度计（B0026718）","焦化总排口"]
[null,"化学需氧量","重铬酸盐法","一周1次","水质 化学需氧量的测定 HJ828-2017","25ml 滴定管"]
[null,"悬浮物","重量法","一周1次","水质悬浮物的测定 GB11901-89","ME204 电子天平（B4236699752）"]
[null,"氨氮","纳氏试剂分光光度法","一周1次","水质氨氮的测定 HJ 535-2009","UV-2550 分光光度计（A10844133121）"]
[null,"挥发酚","4-氨基安替比林分光光度法","一周1次","水质挥发酚的测定 HJ 503-2009","UV-2550 分光光度计（A10844133121）"]
[null,"氰化物","异烟酸-吡唑啉酮分光光度法","一周1次","水质氰化物的测定 HJ 484-2009","UV-2550 分光光度计（A10844133121）"]
[]
[]
[{"$nulls":3},"记录时间：",null,"记录人：","审核人："]

{"sheet":"表4 废水污染物监测结果表","index":3,"n_rows":26,"n_cols":252,"rows_kept":26,"merged":[[0,0,0,20],[0,21,0,41],[0,42,0,62],[0,63,0,83],[0,84,0,104],[0,105,0,125],[0,126,0,146],[0,147,0,167],[0,168,0,188],[0,189,0,209],[0,210,0,230],[0,231,0,251],[1,0,1,20],[1,21,1,41],[1,42,1,62],[1,63,1,83],[1,84,1,104],[1,105,1,125],[1,126,1,146],[1,147,1,167],[1,168,1,188],[1,189,1,209],[1,210,1,230],[1,231,1,251],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,3,4],[2,5,2,12],[2,13,2,20],[2,21,3,21],[2,22,3,22],[2,23,3,23],[2,24,3,24],[2,25,3,25],[2,26,2,33],[2,34,2,41],[2,42,3,42],[2,43,3,43],[2,44,3,44],[2,45,3,45],[2,46,3,46],[2,47,2,54],[2,55,2,62],[2,63,3,63],[2,64,3,64],[2,65,3,65],[2,66,3,66],[2,67,3,67],[2,68,2,75],[2,76,2,83],[2,84,3,84],[2,85,3,85],[2,86,3,86],[2,87,3,87],[2,88,3,88],[2,89,2,96],[2,97,2,104],[2,105,3,105],[2,106,3,106],[2,107,3,107],[2,108,3,108],[2,109,3,109],[2,110,2,117],[2,118,2,125],[2,126,3,126],[2,127,3,127],[2,128,3,128],[2,129,3,129],[2,130,3,130],[2,131,2,138],[2,139,2,146],[2,147,3,147],[2,148,3,148],[2,149,3,149],[2,150,3,150],[2,151,3,151],[2,152,2,159],[2,160,2,167],[2,168,3,168],[2,169,3,169],[2,170,3,170],[2,171,3,171],[2,172,3,172],[2,173,2,180],[2,181,2,188],[2,189,3,189],[2,190,3,190],[2,191,3,191],[2,192,3,192],[2,193,3,193],[2,194,2,201],[2,202,2,209],[2,210,3,210],[2,211,3,211],[2,212,3,212],[2,213,3,213],[2,214,3,214],[2,215,2,222],[2,223,2,230],[2,231,3,231],[2,232,3,232],[2,233,3,233],[2,234,3,234],[2,235,3,235],[2,236,2,243],[2,244,2,251],[4,0,8,0],[4,1,8,1],[4,2,8,2],[4,21,8,21],[4,22,8,22],[4,23,8,23],[4,42,8,42],[4,43,8,43],[4,44,8,44],[4,63,8,63],[4,64,8,64],[4,65,8,65],[4,84,8,84],[4,85,8,85],[4,86,8,86],[4,105,8,105],[4,106,8,106],[4,107,8,107],[4,126,8,126],[4,127,8,127],[4,128,8,128],[4,147,8,147],[4,148,8,148],[4,149,8,149],[4,168,8,168],[4,169,8,169],[4,170,8,170],[4,189,8,189],[4,190,8,190],[4,191,8,191],[4,210,8,210],[4,211,8,211],[4,212,8,212],[4,231,8,231],[4,232,8,232],[4,233,8,233],[9,0,13,0],[9,1,13,1],[9,2,13,2],[9,21,13,21],[9,22,13,22],[9,23,13,23],[9,42,13,42],[9,43,13,43],[9,44,13,44],[9,63,13,63],[9,64,13,64],[9,65,13,65],[9,84,13,84],[9,85,13,85],[9,86,13,86],[9,105,13,105],[9,106,13,106],[9,107,13,107],[9,126,13,126],[9,127,13,127],[9,128,13,128],[9,147,13,147],[9,148,13,148],[9,149,13,149],[9,168,13,168],[9,169,13,169],[9,170,13,170],[9,189,13,189],[9,190,13,190],[9,191,13,191],[9,210,13,210],[9,211,13,211],[9,212,13,212],[9,231,13,231],[9,232,13,232],[9,233,13,233],[15,0,15,20],[15,21,15,41],[15,42,15,62],[15,63,15,83],[15,84,15,104],[15,105,15,125],[15,126,15,146],[15,147,15,167],[15,168,15,188],[15,189,15,209],[15,210,15,230],[15,231,15,251]],"flags":["formulas_cached_only"]}
["表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表",{"$nulls":20},"表4 废水污染物监测结果表"]
["1月",{"$nulls":20},"2月",{"$nulls":20},"3月",{"$nulls":20},"4月",{"$nulls":20},"5月",{"$nulls":20},"6月",{"$nulls":20},"7月",{"$nulls":20},"8月",{"$nulls":20},"9月",{"$nulls":20},"10月",{"$nulls":20},"11月",{"$nulls":20},"12月"]
["序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口",{"$nulls":7},"序号","排放口编号","排放口名称","监测日期","监测时间","出口",{"$nulls":7},"进口"]
[{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值",{"$nulls":5},"化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值","化学需氧量(mg/L)","生化需氧量(mg/L)","氨氮氮氧化物(mg/L)","悬浮物(mg/L)","石油类(mg/L)","挥发酚(mg/L)","氰化物(mg/L)","PH值"]
[3,"DW002","酚氰废水处理站","2023-01-04","9:30-12:30",89,"/",1.37,15,"/",0.05,0.194,8.2,"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站","2023-02-01","9:30-12:30",76,"/",2.28,16,"/",0.09,0.102,8.3,"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站","2023-03-10","9:30-12:30",49,"/",1.55,13,"/",0.017,0.132,8.2,"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站","2023-04-03","9:30-12:30",80,"/",2.13,14,"/",0,0.033,8.2,"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站","2023-05-04","9:30-12:30",80,"/",4.43,11,"/",{"v":0.04,"d":"0.040"},0.078,8.3,"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站","2023-06-05","9:30-12:30",78,"/",1.98,14,"/",0,0.07,{"v":8.3,"d":"8.30"},"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站",{"$nulls":3},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站",{"$nulls":3},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站",{"$nulls":3},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站",{"$nulls":3},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站",{"$nulls":3},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",3,"DW002","酚氰废水处理站",{"$nulls":3},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/"]
[{"$nulls":3},"2023-01-09","9:30-12:30",98,"/",2.38,17,"/",0.07,0.117,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-02-06","9:30-12:30",97,"/",2.44,17,"/",0.08,0.084,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-03-15","9:30-12:30",43,"/",1.73,13,"/",0,0.081,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-04-10","9:30-12:30",72,"/",3.74,15,"/",0.01,0.069,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-05-08","13:30-16:00",74,"/",3.71,14,"/",{"v":0,"d":"0.000"},0.076,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-06-15","13:30-16:00",72,"/",1.54,14,"/",0,0.153,{"v":8.1,"d":"8.10"},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/"]
[{"$nulls":3},"2023-01-16","9:30-12:30",85,"/",2.73,16,"/",0.07,0.007,6.8,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-02-13","9:30-12:30",85,"/",2.03,13,"/",0.07,0.077,8.2,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-03-20","9:30-12:30",66,"/",2.02,18,"/",0,0.057,8.2,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-04-17","9:30-12:30",78,"/",2.07,14,"/",0,0.183,8.2,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-05-15","9:30-12:30",74,"/",3.16,15,"/",{"v":0.01,"d":"0.010"},0.013,{"v":8,"d":"8.0"},"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-06-19","9:30-12:30",88,"/",1.47,8,"/",0,0.197,{"v":8.3,"d":"8.30"},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/"]
[{"$nulls":3},"2023-01-29","9:30-12:30",98,"/",2.69,16,"/",0.08,0.093,7.1,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-02-20","9:30-12:30",92,"/",{"v":2,"d":"2.00"},14,"/",0.06,0.077,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-03-27","9:30-12:30",45,"/",2.08,13,"/",0.058,0.079,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-04-24","9:30-12:30",78,"/",1.61,14,"/",0.01,0.122,8.2,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-05-24","9:30-12:30",80,"/",1.41,14,"/",{"v":0,"d":"0.000"},0.078,8.2,"/","/","/","/","/","/","/","/",{"$nulls":3},"2023-06-27","9:30-12:30",64,"/",1.69,14,"/",0,0.14,{"v":8.3,"d":"8.30"},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/"]
[{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"2023-02-27","9:30-12:30",87,"/",1.24,12,"/",0.06,0.051,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"2023-05-29","9:30-12:30",71,"/",1.39,14,"/",{"v":0,"d":"0.000"},0.056,8.3,"/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":6},"/",null,null,"/",{"$nulls":3},"/","/","/","/","/","/","/","/"]
[4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",4,"DW003","焦化总排口(不外排)","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/",{"$nulls":3},"/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/","/"]
[{"$nulls":14},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存",{"$nulls":17},"记录人：","袁赫阳","审核人：","孙宝存"]
["注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报",{"$nulls":20},"注：进口监测数据按照监测方法、设备条件、企业需求选择性填报(ND表示未检出)"]
[]
[]
[]
[]
[{"$nulls":5},{"v":92.5,"d":"93"},null,{"v":2.2925,"d":"2.293"},16,null,{"v":0.0675,"d":"0.068"},0.10275000000000001,7.6,{"$nulls":13},{"v":87.4,"d":"87"},null,1.998,14.4,null,0.072,0.0782,{"v":8.280000000000001,"d":"8.3"},{"$nulls":13},{"v":50.75,"d":"51"},null,{"v":1.8450000000000002,"d":"1.845"},14.25,null,{"v":0.018750000000000003,"d":"0.019"},0.08725000000000001,{"v":8.25,"d":"8.3"},{"$nulls":13},77,null,{"v":2.3874999999999997,"d":"2.388"},14.25,null,0.005,0.10175000000000001,{"v":8.225,"d":"8.2"},{"$nulls":13},{"v":75.8,"d":"76"},null,{"v":2.8200000000000003,"d":"2.820"},13.6,null,{"v":0.01,"d":"0.010"},0.0602,{"v":8.219999999999999,"d":"8.2"},{"$nulls":13},{"v":75.5,"d":"76"},null,{"v":1.67,"d":"1.670"},12.5,null,{"v":0,"d":"0.000"},0.14,{"v":8.25,"d":"8.3"},{"$nulls":13},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$nulls":13},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$nulls":13},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$nulls":13},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$nulls":13},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$nulls":13},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]
[]
[]
[]
[]
[{"$nulls":5},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]